# Palmer - Determination

Mr. Basch moved, seconded by Mr. Ricci, that the area variance requested by the Applicant, Mr. Adam Palmer of 438G Browncroft Blvd., Rochester, NY, to construct a pond within the side setback regions of both the easterly and westerly property lines be approved.  The property is located at 257 Cheese Factory Road within the Town of Mendon, Tax Account Number 222.01-1-32, in an RA-1 zone.

FINDINGS OF FACT:

- Applicant is currently constructing a home on the subject property.  During construction it was discovered that there is a significant flow of surface and subsoil water in an east-to-west direction across the subject property.  Drainage to the adjacent property located west of the subject parcel has been a constant problem and is worsened during periods of significant rainfall.

- Mr. Palmer appeared before the Zoning Board of Appeals at a public hearing on Thursday, June 22, 2000.

- No persons appeared in opposition to the proposed variance, nor were any letters in opposition received by the Board prior to or during the hearing.

- Mr. Palmer indicated that he discussed the proposed pond and need for a variance with adjacent property owners – none were opposed and the owner to the west is in favor of the pond if it will reduce the surface water drainage problem.

- In addition to a complete site plan depicting the proposed pond location, Applicant provided the Board with documentation prepared by Vyt Burkunas of Monroe County, detailing his assessment of the site and including particular recommendations for placement and construction of the pond.  The documentation included the results of soil test pits dug on the property.

- All members of the Board visited or were familiar with the subject property.

- Applicant stated that the pond would be used for recreational purposes including fishing.  Applicant intends to stock the pond and has been advised that the pond should have a depth of at approximately 10 feet in order to support fish.  Applicant further asserted that the presence of fish, and the pitch of the banks will minimize the growth of weeds and breeding of mosquitoes.

- Applicant plans to use material from the pond as fill around the newly-constructed foundation of the house in order to avoid disturbing land at the rear of the subject property for fill.

- Applicant indicated the request was substantial as it requires a variance from the required 100 foot setback of 55 feet on the west side and 30 feet on the east side based upon scale drawing provided by applicant.  Proposed placement of the pond results in a significant quantity of water being stored directly east and slightly up hill from the existing dwelling of the neighbor to the west of the subject property.

- Applicant stated that he was willing to have the pond designed and approved by Mr. Burkunas or a Licensed Professional Engineer.

- Placement of the proposed pond is indicated as being beyond the FAD area identified on the site plan provided to the Board.  The proposed pond is set back from the road by approximately 150 feet, although the Applicant’s driveway will be parallel to the edge of the pond and adjoins the berm surrounding the pond at one location where a proposed outlet culvert is indicated.

CONCLUSIONS OF LAW:

- Granting the requested variance will not result in an undesirable change in the neighborhood character or to nearby properties as it is common for area homes on large lots to have or create ponds.  Detrimental visual impact from weeds will be minimized by the pitch of pond edges so as to inhibit the growth of weeds.  The presence of water-breeding insects will be minimized by Applicant’s stocking of the pond.

- It is further understood that directing surface and subsoil waters to such a pond, and preventing further westward migration of water with a core trench as designed by Mr. Burkunas, will likely significantly improve the drainage on the property of the adjacent neighbor to the west.

- The benefit of a pond cannot be achieved by other means feasible to the applicant as to do so would require a significant reduction in the size of the pond, to a point where it may not be suitable for fish.

- The request is substantial in that it is a request for a variance of approximately 55% (55 feet of the required 100 feet) on the westerly side and to a lesser extent on the easterly side.

- The requested area variance, albeit significant, will not have any adverse environmental effects.  Moreover, the diversion of overflow to a southerly course as proposed in the plan documents submitted to the Board significantly improves a pre-existing runoff problem experienced by the neighbor to the west of the subject property.  The pond will also offer habitat to local wildlife.

- This is a Type II action under SEQR.

- The alleged difficulty is self-created.

CONDITIONS

- The pond shall be of a size and position as indicated on the drawing entitled “PROPOSED POND PLAN #257 CHEESE FACTORY ROAD” (June 2000) and preliminary design documents prepared by Monroe County that were submitted with the application for variance.  The pond and excavation thereof shall not encroach upon any FAD area designated on the subject property.

- Applicant shall construct a berm or dike about the perimeter of the pond in accordance with the plan document, and shall modify the slope of the pond at the northerly end thereof to permit the ingress/egress of animals and humans.

- Applicant shall contract for the services of either Monroe County (pursuant to Pond Request Procedural Agreement –Phase III) or of a Licensed Professional Engineer for staking and surveying the pond site, designing the pond, periodically inspecting the pond site during construction and to verify construction is according to design specifications.  A pond design completed by Monroe County or a Licensed Professional Engineer shall be filed with the Town of Mendon Building Department before pond construction commences.  Verification that the pond was constructed to the design specification shall be provided, in written form, to the Town of Mendon Code Enforcement Officer upon the completion of pond construction.

- Applicant shall not construct or use any structure within the pond, including a dock or floating platform, within a distance of 100 ‘ from any property line.

- The pond shall be maintained, including stocking with fish, so as to minimize the presence of water-breeding insects.  However, Applicant shall not use, without a proper permit, any chemicals or other substances for the treatment of the water in the pond or removal of weeds.

- Applicant shall place within one month, at all points where an adjacent edge of the pond is generally parallel to the driveway, a vehicle barrier between the outer edge of the pond and the driveway.

- Applicant shall, unless a contrary recommendation is provided in writing by the selected professional in item 3 above, construct a drainage swale and/or berm parallel to the western property line so as to conduct any surface waters emanating from the pond in a southerly direction to a point near Cheese Factory Road.  This condition must be completed before a certificate of occupancy is granted.

# APPROVED

Mr. Basch – aye; Mr. Mattaro – aye; Mr. Ricci – aye; Mr. Thorp –abstain; Mr. Dehm – aye.

July 13, 2000